
ERP 数据处理步骤

一 打开原始数据

1. 双击桌面“[image: image1.png]


”图标，进入分析软件界面。

2. 在“File”的下拉菜单中，点击“New”选项，在弹出的对话框中设置数据路径：

[image: image2.png]Folders

Raw Files: omoDa 0ddbal

ity Fls:[DiDemaData_AudoyOddbal_
ExpoFies.[DiDemabata_AudtosOddbal_






Raw Files：原始记录数据存储路径，


History Files：随后操作过程存储路径，


Export Files：数据输出后的存储路径。


（这三种文件的路径可以根据自己的存储习惯选择路径。）


确定后，保存为一个文件名，下次要调用此数据时，直接在“File”的下拉菜单中点击
“Open”打开所保存的文件即可。原始记录的数据将在左边窗口显示。

3. 双击左边窗口书本样下面的“Raw Data”显示原始数据波形。

二 数据处理
1. 重参考New Reference ：现有电极帽都是以鼻尖做为参考电极，而实际分析ERP波形时，大部分都是根据双侧乳突TP9,TP10做为参考电极，所以根据实际需要进行更换参考电极。
“Transformations”→“Channel Preprocessing” →“New Reference”

预处理Transformations”→通道预处理（预加工）→插入新的参考文件
[image: image3.png]Hew Reference — Step 1 of 3

Select chennals that forn the nen
Avsilable

0z
]

o

crL

cr2

crs

crs

Cz

Eket

B

3

i

i

i

Fo1

Fe2 v

[JInclude Inplicit Reference into Caleulation of the ¥

L





若选择复选框，则会将原始参考电极一起做平均，一般为不选。

[image: image4.png]Hew Reference — Step 2 of 3

Selact the channels to which the new refarence
Ayailaile Selected

i g 0

Tra ]
o
crL
cr2
crs
crs
Cz
Eket
B
3
i
i
i

[JEeep Remsining Channe

L





选择要做重参考的电极，若选择复选框，将保留没有做参考的电极点。

[image: image5.png]Hew Reference — Step 3 of

New Raferenca Channal

Hane of New Reference

014 Raferenca Channal

[JReuse 01d Reference Chennel (egated New Refer:




 
    最后点击完成。

2. 人工去伪迹

Raw data inspection: “Transformations” →“Raw Data Inspection”
原始数据检查：     转换         →原始数据检查
[image: image6.png]"/ Raw Data Inspection





[image: image7.png]"/ Raw Data Inspection





[image: image8.png]"/ Raw Data Inspection

[ Inspection Method || Channels [[Crtera

[[Grodent 60 [ Mt )| Anpituce (| Low Aciy 6]

50

[ Check Gradient

Maxinal alowed votage step:

Wims





[image: image9.png]"/ Raw Data Inspection

Inspection Method | Channels | Cteriz

Gradiert {) || MaacMin ()| Ampitude () | Low Activiy 69

[ Check low activiy in intervals

Lowest allowed actviy (M - in):

05

W





在“Inspection Method”一栏中




Manual Inspection：人工伪迹去除，




Semiautomatic Inspection：半自动伪迹去除




Automatic Inspection：全自动伪迹去除




Individual Channel Mode复选框： 对于某个电极点而言，如果某一段超过



criteria（标准）所设置的标准话，那么之后的步骤中只剔除这一个电极点的数        

据。如果不选，那么这一时间段上所有电极点的数据都将剔除。

在“Channels”一栏中，除了两导眼电信号外，其余的脑电信号导联应全部选择上。



在“Criteria”一栏中，设定半自动、自动分析的检测标准。




Gradient(x)：两个采样点的梯度变化值；




Max-Min(x)：波形变化最大绝对值；





Interval length: 设定时间段，在此时间段内波形允许的最大变化值。




Amplitude：波形变化刻度值；设置允许的最大电压值和最小电压值。




Low Activity(x)：波形最小变化值；在设定时间段内允许的最小变化值（大-小）

· 注意：如果是对分段前的连续脑电信号去伪迹的话，由于此时没有基线校正，检查标准中一般选择Max-Min标准而不做Amplitude这一标准，如果是在分段后做去伪迹工作的话则相反。
· 若选择的是半自动模式，在系统检测完之后，可观察按照标准所选出的伪迹，若认为系统所选择的某些“伪迹”并非伪迹的话，可按shift+鼠标单击去除这段被标记的“伪迹”；若有些伪迹没有被自动识别的话，也可shift状态下，单击两个端点。


       确定完之后单击OK即可。

3. 眼电纠正 Ocular Correction ：将眨眼或眼动带来的肌电影响进行纠正。
1) Ocular Correction传统去眼电（肯定不会影响非眼电成份，但是去眼电的效果不如ICA）

“Transformations” →“Ocular Correction”，按以下弹出窗口操作：
[image: image10.png]Ocular Correction

HEOR
EOG Channel Channel Name: |Ekgl [THEOG Channel
(@ Commen Reference

O Beference Channel

Blirk Detection

© By Algorithm
O Based on Markers

[ wite Ony Markers

Enable / Disable Channels for Corection

Disabled Chanrel: Enabled Channels:

Ekgl [
c3
s
Pt
cr2
cPs
CPE
C:
F3
Fi
7
P8





点击“OK”完成。

2) ICA去眼电 Ocular Correction ICA
(注意：ICA方法找的是成分，对眼电的剔除效率很高，但是它也可能会对非眼电的成份做校正；做ICA分析时，数据中最好没有噪音，因为在大部分情况下ICA会显著的增加噪音，因此建议在用ICA去眼电前已经做了filter（滤波）。)
“Transformations” →“Ocular Correction ICA.” 一般根据算法来来判断，并选择半自动模式：

[image: image11.png]Ocular Correction —

Bink Detection:
® By Agorttm

O Using Markers

1 Wirte Only Markers

[ Wite Pairs of Start and End Markers





选择Value Trigger Algorithm，即根据设定的标准来判断是否为眼电信号

[image: image12.png]Ocular Correction —— Blink Detection Algoritha

Detection Algorthm:
O Meaned Sope Aigorthm

© Value Trigger Algorithm

‘Advanced: Parameters forthe Value Trgger Agortfm.

Bik Value Trgger 41 [87 Polarty: [Automatic v

‘Comelaton Trgger [4]: (70





 [image: image13.png]Ocular Correction —— Ocular Activity

Vetical Activiy:
VEOG Charnel:

® Use Common Reference.

© Use Reference Channel

Find VEOG Componerts:
O Usethe Giobal Field Power

[
® Use Relative VEOG Variance

'VEOG Variance to Delete [4]:

Horzortal Actvey:





[image: image14.png]Ocular Correction —

Channels for Comecton:

gl





[image: image15.png]"/ Ocular Correction —
© Whole Data © Around Binks
@© Interval:

Renge
stat 5} [0 Length [l: (50

e ierva Fee 50
T A 3

IcA:
® Infomax

O Biased Infomax

© Restricted O Brended

Bound Numberof Birks:
Convergence Bound.

Number of ICA Steps:

s





[image: image16.png]Ocular Correction — Natrix Files

Matrx is:

Placsholders: ~$h = History il Name.
S0 = Name of Curent Dta Set
[ Wite LDR-Fie for ICA Matrx.





单击Finish完成。

若选择了半自动模式的话，需要人工确认ICA分析出的眼电成分；系统根据设置标准选择出符合条件的成分，并标记为红色，若认为找出的成分并非眼电成份，在红色处双击成为绿色，最后点击Finish完成即可。
[image: image17.png]s111

] Show Normed Mappings.

ICAScaing: 25

ICA Componerts.

Recaloulate

Cancel





4. 对多个mark做总分段 segmentation：

在“Transformations” →“Segment Analysis Functions” →“Segmentation”，
            转换           →        段分析功能          →       分割

按以下弹出窗口操作：
[image: image18.png]/ Segmentation Wizard — Step 1

Whatkind of Seqmentation would you ke ta be performed?
© Create new Segmens based on a marker positon

O Divide data setin equal sized segments.

© Setnew segments manually.

O Create new segments limited by start and end markers.

How should the data be stored?
© Do not store dats, caleulats data on demand.
O Cache data to a termporary file.
O Cache data to a permanent file

O Store data compressed n histary fle.





将所有需要分析的mark选择到selected Markers中

[image: image19.png]Which markers wouid you lke to include?

Avalble Makers Selected ks
e Desowin  Comt Tope  Desorpton  Count
simis 5155 1 sumis |5 2 2
simis 5223 m sumis |5 3 2
smis 5222 & Simds_|S 1
simis|S111 1w
o b =
o B <Remove
Advanced Bodean Boressn





填写segmentation的起始时间

[image: image20.png]Segmentation Wizard — Step 3 of 3

Start and End of the Segments Relatve to the Postion ofthe Selected arkers

© Based on Time

Satims]  [200

O Based on Data Points





最后点击“Finish”完成。
5. 滤波 Filters： 根据所要分析的信号频率，适当设定波形带宽，滤除不必要的信号。
“Transformations” →“Filters” ，在弹出的窗口中操作：
[image: image21.png]Low Cutof

Frequency [Hel: (001 Slope [dB/oct]

Time Constant[5]: [15.9155

Freauency [Hz] Slope [dB/oct]

Noteh
CEnabed  Frequerncy (2]

] Enable Indvidual Charnel iters Fill Table with Vs from Above.

Low cutorr High Cutoft Noten

Frequsncy [Hz|Time Constant [[Siope [a/od Frequency [Hz] Siope [da5/0c] Frequency [Hz
100000 1591550 2 30.000000 2 E3
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £
100000 ©551550 = 30000000 = £

100000 ©551550 = 30000000 = £

100000 91550 = 30000000 = £
100000 91550 = 30000000 = £
100000 91550 = 30000000 = £
100000 91550 = 30000000 = £
100000 91550 = 30000000 = £
100000 91550 = 30000000 = £
100000 91550 = 30000000 = £

IRTATATATATATATAAY
IRTATATATATATATASY
IRTATATATATATATAAY

3





Low Cutoff：设置低切滤波值，其中Frequency［Hz］为频率，Time Constant［s］为时间常数，两个参数只要设置其中一个即可，它们可根据F＝1/(2πT)互相转换。

High Cutoff：设置高切滤波值。

Notch：设置交流电滤波，根据所采集数据时的交流电压所定，如美国为110V，选择60Hz，而中国为220V，选择50Hz。

Enable Individual Channel Filters：选择后可对每一通道单独设置带宽值。若对所有通道做filter，此项不选。

6. 基线校正baseline correction
 “Transformations” →“Segment Analysis Functions” →“Baseline Correction”，
    转换          →       分段分析功能       →         基线校正

按以下弹出窗口操作：
[image: image22.png]Baseline Correction X

Flange for Mean Valus Caloulaion

e
CY —





7. 去伪迹 Artifact rejection：去除由于设备或被试动作带来的伪差信号。（注：Artifact rejection之前一定要做baseline correction）
· 如果之前没有做segmentation，那么原始数据对应的去伪迹项为Raw Data Inspection，两者唯一区别为顺序不同导致可供选择的名称不同而已。
· “Transformations” →“Raw Data Inspection”， 按以下弹出窗口操作：

[image: image23.png]"/ Raw Data Inspection

Inspection Method | Channels | Criteria

Method
O Manual Inspection
© gemiautornatic Inspection

O gutomatic Inspection

Made
[ Individual Channel Mode





在Criteria一栏中的“amplitude”中输入以下信息，其余信息可不再填写：

[image: image24.png]| Inspection Method | Channels | Citeria

| Gradient () | Maxchin 69 Ampltude &) | Low Actviy 6]

Check madmal and minmal ampltude:
Mirimal alowed ampiude:

70 w

Maxinal alowed ampltude:

7 w

Mark as bad

before event: aher event.
200 ms [0 ms





· 若选择的是半自动模式，在系统检测完之后，可观察按照标准所选出的伪迹，若认为系统所选择的某些“伪迹”并非伪迹的话，可按shift+鼠标单击去除这段被标记的“伪迹”；若有些伪迹没有被自动识别的话，也可shift状态下，单击两个端点。


       确定完之后单击OK即可。

8. 根据条件分段 Segmentation ：根据标志将要进行叠加平均的脑电信号提取出来。
在“Transformations” →“Segment Analysis Functions” →“Segmentation”，按以下弹出窗口操作：

[image: image25.png]/ Segmentation Wizard — Step 1

What ind of Seqmertation would you ke to be pefomed?
(® Create new Segments based on a marker postion.

O Divide data set in equal sized segments.

O Set new segments manualy.

O Create new segments imited by start and end markers.

How should the data be stored?
© Donot store data, calcuiate data on demand.
O Cache datato a temporaryfile.

(® Cache datato a pemanent fie.
Cache Data on Request
© Store data compressed inhistoryfile.





[image: image26.png]&

Which markers would you like to include?

Available Markers

Selected Markers

Advanced Baolean Expression:

Type  Descripion  Count Type  Descripion  Count
Respon...| Reaction 83 Stimulus | Rare a1
DC Car. 1

Stimulus |Frequent





图例：如果要将Rare条件下反应正确并且在500ms时间内有反应的trials（与Rare这一code的interval为0~500ms）进行分段的话，可在Advanced Boolean Expression中填写s100(0,500)。更多Boolean操作可参考manual手册。

注：BP vision analyzer软件本身不能将行为数据与脑电数据融合，所以在编程的时候一定要用mark标识正确错误trial ，否则将不能自动剔除错误trial ! 

[image: image27.png]"/ Segmentation Wizard — Step 3 of 3

Start and End of the Segments Relative to the Position of the Selected Markers
© Based on Time

Startfms]  |-200 End[ms] 1000 Duration [rm: 1200

O Based on Data Points

[ Allow Overlapped Segments
Skip Bad Intervals





9. 叠加平均 Average
“Transformations” →“Segment Analysis Functions” →“Average”，按以下弹出窗口操作：

[image: image28.png]Seament Range 0dd-Even
Avaible Segrents: 79

© U FilfE

[ Enable 0dld - Even Averaging

O Specity Range of Segments

Statistcal Data

[ Crest a Data Set for Standard Deviation
Incivicsal Charnel Mods

[ Enable Individual Channel Mode.

[ Caleulate SignattoNoise Ratio (SNR)





10. 多个被试的组平均：当对每个被试的各个条件都完成了叠加平均之后，可对实验条件进行组平均。

Transformations > Segment Analysis Functions > Result Evaluation > Grand Average.
 [image: image29.png]"/ Grand Average

Input Histry Nodes & Output Fies:

Namefs)of the involved histry nodes separated by commas

Input History Fes

[ Brmary Histry Fies Orly SRS
oi0e0ioT

01050104
© Use Whole Workspace 01100201

e 01720301
Os BT 01120303
01120300
01130201
Selection Fter: i
01150502
0116040
01160403
01160408
01170602
01170603
1170604

[ Create a Data Set for Standard Deviation
O Enable Individual Channel Mode:
[ Caleuiate Weighted Average

Selected Fies:
01720302
01150401
01170601
01170702
01180801
01180902
01181001
01191102
01201201
01201302
02081201

Include Selected History Fies to Saving Parameters

o (o) |





Name of the Involved History Nodes separated by commas：

填写要做总平均的数据集（即某个条件的average的结点，不同被试相同条件下的average结点要命名为相同的名字），可选择多个数据集并用逗号分开。（注：不同条件应使用不同的结点名称， 系统会对每一个被试按照从上往下的顺序进行搜索直到第一个匹配的结点，并且单个被试此次搜索结束）

Output file：输入总平均波形输出文件的名称。

Primary History Files Only：Available Files列表中只会出现Primary History Files中的数据。

Use Whole Workspace：工作组中所有数据均选择。


Select Individual History Files：自主选择要进行总平均的数据。
11. 差异波 Difference Wave

1) 单个被试的差异波：先双击被减平均波，然后按以下步骤进行：


Transformations > Comparison and Statistics > Data Comparison.
[image: image30.png]Comparison

Compaiison Methods

(@ Diference.

Ogum

ORatio

O Percent Ratio

O Cross Conelation





[image: image31.png]Comparison Wizard — Step 1 of 2 — Data

Data Sowrcas
OConpare Channels

ol e

o FEE





[image: image32.png]Comparison Wizard — Step 2 of 2 — Dataset

Pleass select the datsset for

band Reference History FJ
ata
it Channels Expand Sane Nanez
New Rafarence
=) Raw Data Inspection Expand AL
=) Ran Data Inspection
=) Oenlarorraction Collapse M1
o) Filters
¥ Segnentation
= Segnentation 2
=/ BazelinsCorraction
=) Artifact Rejaction

[JKeep Renaining Channel

Use Relative Fath
Tenplate or Drag and

L





最后点击完成。


注意：由于系统本身作出的差异波默认为两条原始波形和减得的差异波，在此之后再做一步baseline correction可以得到只有差异波的波形图。（参数设置和之前处理步骤完全一致，所以处理完之后的差异波不会有任何改变）
2) 总平均波的差异波
步骤与1）的差异仅仅在于最后一步中的“2”,即Use Relative Path for Template or Drag and Drop 复选框不选即可！
12. 波峰检测 Peak Detection
Transformations > Segment Analysis Functions > Result Evaluation > Peak Detection.

[image: image33.png]"/ Peak Detection

Automation Methods
© Semiautomatic Detection
© Adomatic Detection

Searching Methods
©iSeparate Searchfor Every Chanel
O Search Peakin  Reference Channel and Set Maricers with Respect to this Peak

Detecton Methods
O Search for Giobal Maxima in Interval
(® Search for Local Maxima in Interval
© Search for Weighted Local Maximain Interval





[image: image34.png]J Peak Detection

Strtfms] | Endfms] | Polarty | Cobr





[image: image35.png]"/ Peak Detection

Please ensble the channels, in which the peaks should be marked.

Disabled Channels: Enabled Channels:





在半自动模式下，可以在出现的交互界面中查看各个电极位所检测数的波峰值，若认为不恰当，可选择该电极，双击后拖动灰色条至合适位置。

[image: image36.png]01090102/Raw Data/EdF Channel-neuro/N

R LA 352000
I
cs 564000

Csespend ] 5] (Ceanes )





[image: image37.png]01090102/Raw Data/Edit Channels-neuro/iew Referen

2/Segmentation/Ocular Correction ICA 2

Fp1 T
s
Fp2 ——

e
03—
C4
P~ |
PE

o~
2 ~ |
]

F8

78 )

01090102/Raw Data/Edit X

P

P8
S B

Cz ——r——
I N VSN
N~

FCt e
FC2 —mer
o S B
U I
Fos ——
OB o —f
CP5 T
cP6

kg1~

T
" [

Name: | Posttion
" 392,000

m

A
——
R
]





完成后单击OK即可。

三  其他
1. 批量处理多个被试：

· History Template下拉菜单中 →New

· 将已做好模板的根结点拖到Root下

[image: image38.png]| New Template 2 [Unsaved] |

BRI
5 Edit Chamnelshe
S New Reference

5 O DeularCarrection
5 Rav Data Inspection
5O Filtars
5O Segnentation
O BaselineCorrection
hversge




· History Template →Save

· History Template →Apply to History File(s)

[image: image39.png]Apply an History Template to History Files

Select History Template

Stting Posiionin Hilory Fies
© Root (Raw Date’)
O Choose Data Set (Hisory Node)

Data Set:

Message Logfie

Select o Fle)
Prnany isory Fies Ony
© Use Whole Workspace
® Select Individual History Fies

Selecton Fter:  [°

Avaiable Fes:

01080101
0100102
01100201
01120301
01120302
01150401
0115001
01160402
01170601
01170602
01170701
01170702
01180801
0118001
01180902
01181001
01181002
01191101
01191102
01201201
01201202





在弹出的对话框中选择需要处理的被试，单击OK即可。

（注：如果模板步骤中“去伪迹”或者“ICA眼电校正”选择的是半自动模式的话，那么每个被试的这两个步骤都需要人工干预。）

2. 平均波幅的输出：Area Information Export > Multiple Export > Area Information Export.
[image: image40.png]Area Information Export

Input

@TimeDomain O Frequency Domain

Area Interval Relative to Time 0

Startms} 250

End[ms] (400

Mames) of the Involved Data Sets History Nodes) Separated by Cormas:

Fiepeat_ave Switch_ave

jimaty Histoy Files Orly

O Use Whole Workspace

® Select Individual History Fles:

Selecton Eiter

Refresh

Avaible Fies

Selected Files:

Options

] 0verwite Defauit Decimal Symbol ().

Rectfcation
(@ Use Agtivty [Unsigned Values, Rectifed)
O Use Voltage (Signed Values)
Export Type
Orealu * ms]
@ Mean Activiy V]

Output

Folder: E-\dataterport

Dutput File:[mean st




  
3. 峰值和潜伏期的输出（peak information export,在做这一步之前，需要先做peak dection来标识该成分的波峰值）
Export > Multiple Export > Peak Information Export
[image: image41.png]Peak Export

Input Options

Feak Name: N2 ] Dverwite Defauit Decinal Syrbol )

Mames) of the Involved Data Sets [ristory nodes Sepaiated by Commas:

Peaks iepeal Peaks swtch vpoit Mean Value Around Peak

- [Pants} 2
jimaty Histoy Files Orly

] Export Indivicual Ltencies for Each Channel

O Use Whole Workspace
® Select Individual History Fles:

Selection Fiter. |* Output

Folder: E-\dataterport
Avaible Fies Selected Files:

01080101
1090102
07100201
01120801
01120302
07150401
01150801
01160402
01170601
01170602
1170701
1170702
01130801

01130901

01180902
01181001

1181002
[N

[N
1201201

momom

Output Peaks Nt





垂直眼电：


Common reference：与其他电极位共用参考电极


Reference channel: 若有两个垂直眼电电极，则选择一个作为参考电极





水平眼电：若记录了水平眼电，则选择，方法同垂直眼电。








根据运算规格来判断





如果记录了垂直眼电，则选择此复选框





S100(0,500)





选择减去条件的平均波





1





2





3








�参数设置待讨论





